Zhengzhou Eastar Instrument Equipment Co.,Ltd. (a branch of Nanbei Instrument Limited). It has been exported to more than 100 countries around the world for 20 years , and it is one of the largest and the most comprehensive instrument and equipment manufacturers in China. It integrates research,development,production and sales as one of the independent legal personality persified technology group. The headquarter is in Zhengzhou (International Air Port Area),China. And it also has the office in Beijing, Shanghai,Shenzhen and Hong Kong of China. Nanbei had obtained ISO9001:2015 quality management system certification,SGS certification,and its products had passed EU CE certification and RoHS certification.

https://chinayingshida.en.alibaba.com/productgrouplist-939864170/Pharmaceutical_testing_equipment.html

BIOBASE 120L Laboratory Bottle Washing Machine Customized OEM Glassware Washer and Dryer

Laboratory Glassware Washer

BIOBASE Lab Automatic Glassware Washer BK-LW300P Washer March New Trade Festival Welfare Price for Lab or Hospital

SCITEK 0-800L/min 3 Layer Glassware Washer Laboratory Washer Disinfector

place of origin	Shandong, China

warranty	2 years

customized support	OEM, ODM

brand name	SCITEK

model number	WD-320I

Capacity(L)	317L

Screen Size	7inch

Standard Program	30

Self-defined Program	120

Pump Flow	0-800L/min

Drying System	Injection drying

Cleaning Basket Layer	3 layer

Power Supply	220/110V,50/60Hz

Power(kW)	5

Air Heating Power(kW)	4

Factory Direct Fully Automatic Bottle and Laboratory Glassware Washer

| Model | YHCQ-100 | ALGW-200 | ALGW-300 |
| --- | --- | --- | --- |
| Dimensions(mm) | 907*785*740 | 907*756*1062 | 701*845*1655 |
| Working size(mm) | 530*560*633 | 540*560*800 | 630*640*930 |
| Power Supply | 3 phase |  |  |
| Capacity(L) | 126 | 206 | 308 |
| Washing capacity(L) | 100±5 | 200±5 | 300±5 |
| Circulating pump power (KW) | 0.5 | 0.75 | 1.5 |
| Circulating pump flow (L / min) | 295 | 430 | 1000 |
| Water heating power (KW) | 2 | 4 | 6 |
| Power of drying fan (KW) | 0.85 | 0.85 | 0.85 |
| Drying heating power (KW) | 2.2 | 2.2 | 3.3 |
| Cleaning temperature(℃) | RT~93 | RT~93 | RT~93 |
| Number of cleaning layers one | 1 | 2 | 2 |
| Rated total power (KW) | 4 | 5 | 7.5 |
| Peristaltic pump dosage (ml / min) | 360 | 360 | 360 |
| Maximum noise (dB) | 45 | 45 | 45 |
| Operating temperature (℃) | 5~40 | 5~40 | 5~40 |

China High Efficient Laboratory Automatic Glassware Washer Washer Disinfector

| Model | FGLW-120 | FGLW-220 | FGLW-320 | FGLW-420 |
| --- | --- | --- | --- | --- |
| Capacity(L) | 120 | 220 | 320 | 420 |
| Water Consumption/Cycle(L) | 15 |  | 18 | 25 |
| Inlet Water Pressure(Mpa) | 0.3~0.8 |  |  |  |
| Noise | ≤50dB | ≤55dB |  |  |
| External &Internal Material | Stainless steel |  |  |  |
| Overall Power Consumption(KW) | 6 | 6.5/16.5 | 6.5/18 | 6.5/18 |
| Power Consumption-Water Washing(KW) | 0.75 | 0.75 | 1.5/2.8 | 1.5/2.8 |
| Power Consumption-Water Heating (KW) | 5 | 5/15 | 5/15 | 5/15 |
| Power Consumption-Drying (KW) | 2.1 | 3.6 | 3.6 | 3.6 |
| Cleaning Racks | 1 pcs | 2pcs | 3pcs | 2pcs |
| Power Supply | AC220V , 50/60Hz | AC220V , 50/60Hz 380V , 50/60Hz |  |  |
| Washer Chamber Size(W*D*H )(mm) | 600*629*465 | 600*629*658 | 600*629*820 | 688*700*703 |
| External Size (W*D*H mm) | 980*740*870 | 690*790*1810 | 690*790*1950 | 1100*900*2165 |
| Packing Size (W*D*H mm) | 1080*990*1065 | 990*840*2090 | 990*840*2250 | 1300*1040*2235 |
| Gross Weight | 150kg | 330kg | 400kg | 450kg |
| Optional Accessories | USB interface, printer ,Cleaning racks |  |  |  |

place of origin	Hebei, China

warranty	1 year

customized support	OEM

brand name	Faithful

model number	FGLW-120

Product name	Automatic Glassware Washer

Capacity(L)	120

Inlet Water Pressure(Mpa)	0.3~0.8

Noise	≤50dB

External &Internal Material	Stainless steel

Overall Power Consumption(KW)	6

Cleaning Racks	1 pcs

Power Supply	AC220V , 50/60Hz

Washer Chamber Size(W*D*H )(mm)	600*629*465

Gross Weight	150kg

Packaging and delivery

Packaging Details	standard export strong carton