| Model Name |  | Heater chiller |
| --- | --- | --- |
| Model NO. |  | GDSZ-5/20+200 |
| Temp accuracy(℃） |  | ±1 |
| Operate temp(℃) |  | -20～200℃ (300℃ is option,need extra cost) |
| Ambient temp(℃) |  | 5～35 |
| Best humidity |  | ≤60% |
| Power voltage |  | 1PH/220V/50HZ |
| Safety protection |  | Delay, over current, overheating, over temperature protection, over and under voltage, lack of phase |
| Total power(kW/A) |  | 3.2/14.5 |
| Display |  | digital control |
| Cooling capacity(kW) |  | 0.51 |
| Heating pow（kW) |  | 4 |
| Heat dissipating |  | Air-cold |
| Compressor | Item No. | MGu160CSe030 |
|  | HP | 1 |
|  | Type | Fully enclosed rotor compressor |
|  | Refrigerant | R404A |
| Cooling capacity(kW) | 100℃ | 3.8 |
|  | 30℃ | 3.01 |
|  | 0℃ | 2.94 |
|  | -5℃ | 2.03 |
|  | -10℃ | 1.66 |
|  | -15℃ | 1.3 |
|  | -20℃ | 0.72 |
| Cycle pump | Power(W) | 160 |
|  | Flow (L/min) | 10 |
|  | Lift（M） | 36 |
| Cycle port size |  | DN15 |
| Communication port(optional) |  | RS485 |
| Heating storage tank |  | SUS304 |
| Heating transfer tube material |  | SUS304 |
| Expansion Tank (L) |  | 12 |
| Cycle medium |  | Silicon case 50cs below |