| Mode Name |  | Heating Circulating Device |
| --- | --- | --- |
| Mode No |  | GSC-20L |
| Capacity of storage tank (L) |  | 20L |
| Temperature Accuracy(℃） |  | ±1 |
| Heat-dissipating method |  | Air-cold |
| Temperature Range(℃) |  | RT～300 |
| Ambient Temperature(℃) |  | 5～40 |
| Environment Humidity |  | ≤60% |
| Power Supply |  | 3PH/220V/60HZ |
| Safety Protection |  | Delay,over current、overheat、Over temperature、under voltage,phase lost |
| Total Power Max：(kW/A) |  | 3KW |
| Temp Control Mode |  | PID |
| Heating Capacity Max：(kW) |  | 15 |
| Circulating Pump Capacity | Power(W) | 370 |
|  | Flow rate(L/min) | 40 |
|  | Explosive Standard | YB2 type flameproof Bede is ExdIIBT4, with the temperature and group being T4 respectively, which complies with JB/T7575.1-2004 |
|  | Lift(m) | 28 |
| Communication port |  | RS485 |
| Fluid storage tank material |  | SUS304 |
| Fluid conveying pipes and valves material |  | SUS304 |
| Self- adding Liquid(L) |  | 20 |
| Machine Size(mm) |  | About 524W×400D×680H |
| Weight（kg） |  | 35 |