| Model No. | DP-0630HC1 |
| --- | --- |
| Environmental Temperature | 5--35 |
| Environmental humidity | ≤70 |
| Motor power(W) | 180 |
| vacuum degree | -0.0994 |
| Control Accuracy | ±0.2kPa |
| Maximum pumping rate (L/min) | 30 |
| Availability of gas ballast valve | Yes |
| Working power supply | 220--240V,50Hz |
| Inlet nozzle bore | ɸ7 |
| Outlet nozzle bore | ɸ7 |
| Inlet and outlet hoses | ɸ14*ɸ8 |
| Shell protection class | IP20 |
| Anti-pollution level | Level 2 |
| Size(mm) | 300*210*330 |
| Weight(Kg) | 15 |

Frequency-regulated vacuum pumps